**HbA1c External Patient Program**

# Directions for performing test:

* Select the appropriate sample as indicated by the label on the vial
* Allow the sample to reach room temperature
* Swirl gently to ensure homogeneity
* No reconstitution is required
* Run the sample as a Patient test with the PATIENT ID being the sample number indicated on the vial
* Fill the test cartridge capillary completely by holding the sampling device almost horizontal and bringing the capillary tip into contact with the surface of the sample. Do not wipe the capillary. Avoid air bubbles or excess sample on the outside of the capillary.
* Once analysis is complete, fill out this sheet and fax results to the iCCnet SA office (08) 7117 0635

EQA NUMBER

## HbA1c Result (%)

## HbA1c Result (mmol/mol)

Date/Time Analysed

Operator



 Site Name

**Please fax results to iCCnet SA on 08 7117 0635**