StatStrip Glucose External QC Program \_\_\_\_\_\_\_

**Directions for performing test:**

* Select the appropriate sample as indicated on the pipette (blue solution) and cut off the tip.
* Run the control solution as a patient test, scanning the sample barcode as the patient ID.
* Discard the first few drops and apply a large drop to the test strip ensuring there are no air bubbles.
* Test all of your StatStrip meters using the same solution.
* Once analysis is complete, fill out this form and fax to iCCnet on (08) 7117 0635 or email Health.iCCnetSupport@sa.gov.au.

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Device Serial Number** | **EQA:** | **EQA:** |
| **Device 1** |  |  |  |
| **Device 2** |  |  |  |
| **Device 3** |  |  |  |
| **Device 4** |  |  |  |

**Date Analysed:**

**Operator:**

**Site Name:**